Town of Bethlehem
Request for Proposals (RFP)
Repair and Leveling of Town Hall Steps
RFP Issue Date: 06/03/2025
Proposal Deadline: 07/03/2025

### 1. Overview

The Town of Bethlehem is seeking proposals from qualified contractors for the repair and leveling of the front steps at the Bethlehem Town Hall located at [Insert Address]. The objective of this project is to restore safe, even access to the building and implement measures to reduce future shifting or settling due to seasonal weather conditions such as frost heaves and runoff.

### 2. Scope of Work

The successful contractor will be responsible for:

- Site Evaluation: Inspect the current condition of the Town Hall steps and identify structural issues contributing to the unevenness.

- Demolition/Removal: Safely remove or adjust existing steps as necessary to allow for proper leveling.

- Repair and Leveling:

  - Rebuild or relevel steps using durable materials appropriate for the New England climate.

  - Ensure the steps comply with ADA and NH Building Code requirements.

- Mitigation Measures:

  - Install drainage solutions (e.g., proper grading, channel drains) to direct water away from the steps.

  - Implement frost-resistant construction techniques and materials to minimize heaving and settling.

  - Recommend long-term maintenance strategies to preserve integrity of the steps.

- Finishing:

  - Match the aesthetic of the current Town Hall façade where possible.

  - Include non-slip surfacing or treads for safety.

### 3. Proposal Requirements

All proposals must include:

- A company profile and relevant experience with similar municipal or historic building projects.

- Detailed scope and approach to the work.

- Timeline for project start and completion.

- Itemized cost estimate.

- Description of materials to be used.

- Warranty information.

- Proof of insurance and necessary licensure.

### 4. Timeline

- RFP Issued: 06/03/2025

- Pre-bid Site Visit (Optional): Call for appointment

- Deadline for Questions: 07/02/2025

- Proposal Due: 07/03/2025 12:00pm

- Contract Awarded: 07/07/2025

- Project Completion: Preferably by Fall 2025

### 5. Selection Criteria

Proposals will be evaluated based on:

- Experience and qualifications

- Proposed solution and approach

- Cost effectiveness

- Ability to meet timeline

- References and past performance

### 6. Submission Instructions

Proposals must be submitted in a sealed envelope clearly marked "Bethlehem Town Hall Steps Repair RFP" and delivered by [Insert Deadline] to:

Bethlehem Town Hall
Attn: Mary Moritz GGB RFP
PO Box 189
Bethlehem, NH 03574

Electronic submissions may also be sent to admin@bethlehemnh.gov

### 7. Contact Information

For more information or to schedule a site visit, contact:

Mary Moritz
Town Administrator 
603-869-3351 ext. 101
admin@bethlehemnh.gov